{"text_format":"1","workbook":"xls","n_sheets":2,"sheets":["Daten","Buderus"],"not_rendered":{"charts":0,"images":1,"macros":1,"external_links":1,"defined_names":13,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Daten","index":0,"n_rows":26,"n_cols":10,"rows_kept":26,"cut":false,"hidden":true,"merged":[],"flags":["formulas_cached_only"]}
["Logatrend VK-Profil"]
["Normübertemperatur:",null,null,null,49.83288654563971,"°C"]
[]
["Normwärmeleistung",null,null,null,null,null,null,"Длина",null,"Тем-ра помещения"]
[null,300,400,500,600,900,null,400,null,16]
[10,341,442,540,633,897,null,500,null,18]
[11,539,689,828,960,1311,null,600,null,20]
[21,742,925,1101,1273,1782,null,700,null,22]
[20,578,739,893,1042,1466,null,800,null,24]
[22,1000,1260,1506,1741,2399,null,900,null,26]
[30,813,1031,1239,1440,2007,null,1000,null,28]
[33,1440,1795,2129,2449,3343,null,1200]
[null,null,null,null,null,null,null,1400]
["Heizkörperexponent",null,null,null,null,null,null,1600]
[null,null,null,null,null,null,null,1800]
[null,300,400,500,600,900,null,2000]
[10,1.3126,1.2929,1.2731,1.2534,1.2622,null,2300]
[11,1.279,1.2846,1.2903,1.296,1.3041,null,2600]
[21,1.2879,1.2968,1.3058,1.3148,1.3226,null,3000]
[20,1.2824,1.277,1.2716,1.2663,1.2978]
[22,1.2898,1.3025,1.3153,1.328,1.3429]
[30,1.2862,1.2951,1.3041,1.313,1.3262]
[33,1.3093,1.3171,1.3249,1.3327,1.3332]
[]
["Радиатор VK-Profil "]
["Радиатор K-Profil "]

{"sheet":"Buderus","index":1,"n_rows":350,"n_cols":14,"rows_kept":350,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
[null,"Температура подачи",null,75,"°C"]
[null,"Температура обратки:",null,65,"°C"]
[]
[null,"Радиатор VK-Profil "]
[]
[null,"Мощность\nрадиатора","Высота\nрадиатора","Тип\nрадиатора","Тем-ра в\nпомещении","Расчетная длина\nрадиатора","Модель радиатора\n(длина радиатора согласно\nпроизводимых типоразмеров)","округленная\nдлина радиатора"]
[1,"Гостинная",null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,1100,500,21,26,1182.1051715548294,"Радиатор VK-Profil 21/500/1200",1200,43.80994942891916,0.8791373020062884,4,4,1101,1.3058]
[null,1450,500,21,20,1316.9845594913716,"Радиатор VK-Profil 21/500/1200",1300,49.83288654563971,1,4,4,1101,1.3058]
[null,1000,500,21,20,908.2652134423251,"Радиатор VK-Profil 21/500/900",900,49.83288654563971,1,4,4,1101,1.3058]
[2,"Кухня",null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]
[null,null,null,null,null,"","",{"$error":"#VALUE!"},69.88078997710201,1.4023026724149588,{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"},{"$error":"#N/A"}]